TECHNOLOGY

MT-1300 ¦ Multi-functions Optical Time Domain Reflectometer

◆ 3.5 inch color TFT-LCD (touch screen)

◆ Handheld design, light weight and easy operation

◆ Applicable fiber: SM

◆ Dynamic Range: 24/22dm

◆ RJ 45 cable TDR test, cable sequence test

◆ Optical power meter, Visual fault locator, Laser source

◆ Can create test report

MT-1300 hand-held optical time domain reflectometer is a high-performance, cost-effective optical network analysis barrier tester, with a lightweight, easy to use, highly intelligent, single-key automatic fast test and other notable features. The instrument is small, light weight, powerful, battery-powered. Easy to operate interface, touch screen and key panel can be achieved on the operation of the OTDR to meet the operating habits of different testers.

Features

- Display: 3.5 inch color TFT-LCD screen

- Handheld design, light weight and easy operation

- Single mode: 1310/1550 nm

- Dynamic range: 24 / 22dB (can test about 60 km)

- Automatic measurement mode: 1310/1550 nm dual wavelength can be tested simultaneously

- Applicable fiber: SM

- <8m extra-short event dead zone

- Wavelength: 1550nm

- Up to 24dB High Dynamic Range

- Distance Range: 4,8,16,32,64,128,256km

- Pulse width: 3ns-10us

- RJ45 cable TDR test & cable sequence test

- Optical power meter, Visual fault locator, Laser source

- Event Map, can display the length of the link, the type of event point and the position of break point.

- USB interfaces, supporting USB stick and printer and direct cable download to PC via ActiveSync

- LED light

- Built-in friendly-environment lithium battery with high capacity for over 12 hours of operating life

Specifications

| Items |  | MT-1300 Plus |
| --- | --- | --- |
| Dynamic range |  | 24/22dB |
| Wavelength (±20 nm) |  | 1310/1550 |
| Display |  | 3.5 inch colorful TFT-LCD screen |
| Event dead zone |  | 3m |
| Attenuation Dead zone |  | 8m |
| Optical interface |  | FC/UPC(SC and ST are exchange) |
| Distance range |  | 500m-60km |
| Pulse width (ns) |  | 3ns-10us |
| Sampling point |  | 16k-256k |
| Sampling resolution |  | 0.05m-8m |
| Distance measurement precision |  | ±(1 m + 5 x 10-5 x Distance + Sampling interval) |
| Data storage |  | ＞500 test traces |
| Laser safety level |  | CLASS II |
| File form |  | SOR standard file form |
| Communication interface |  | USB |
| VFL | Wavelength | 650nm |
|  | Output power | 10mW |
| Optical Power meter | Wavelength | 850/1300/1310/1490/1550/1625nm |
|  | Testing range | -70dBm - +10dBm |
| Light source | Wavelength | 1310/1550nm |
| External power supply |  | DC 5V 2A |
| Battery |  | Built-in 3.7V Lithium polymer battery, 4000mAh |
| Operation time |  | normal working time 12 hours |
| Working Temperature |  | -10℃---+50℃ |
| Working Humidity |  | 0 -95% |
| Dimension/Weight |  | 173mm x 82mm x 37mm / 0.4kg |

Note:

- Technical specifications describe the guaranteed performance of the OTDR when a typical UPC connector is used for measurement. The uncertainty caused by the reflection ratio of the optical fiber is not considered. The MT-2300 is measured when the measuring range is 120km. the pulse width is 2560 ns, and the average time is 3 min.

- Dead zone measurement conditions: The reflection event occurs within 4 KM. The reflection strength is smaller than -45 Db. The minimum pulse width is used.